The corals in this study are part of a research corroboration took place in 2012 from New Georgian Island Group from Western Solomon Islands. Specifically corals 12-SPL-A and 12-SP-A from inner part of the lagoon on the western end of the Vonovono Island. The coordinates for 12-SPL-A are 8.221 S,157.0049 E and for 12-SP-A are 8.2164 S,156.9837 E. Both microatoll are about 4 m in diameter and have very similar surface topography, Nearby microatolls appear very similar. 12-SPL-A was still living when sampled and had emerged during 2007 Mw8.1 event. The slabs are taken with a underwater functional chainsaw and the slabs are separated into 30-40 cm pieces for logistic purposes.

There are 2 different drilling campaigns on the coral 12-SPL-A. During both sampling campaigns there were one temporal focused time series and multiple short samplings for a depth-d13c curve for the calibration purposes. First campaign was conducted in 2021(?) and published in Kendall et al 2026 as primary results with a compelling overlap with InSAR result from the region. During that campaign 118 continuous samples are taken covering the 2007 Mw8.1 event as well as 68 calibration samples from 7 different depths. The second and main drilling campaign for this paper took place in late 2024. We collected 574 samples from 8 different horizontal parallel paths for the temporal coverage of the tectonic history and 140 samples from 5 different depths for the depth-d13c calibration.

The drilling paths are set horizontally for capturing the temporal change of the stable isotopes responding to vertical tectonic motion of the coral. For a tectonically stable setting sampling of the coral in vertical or horizontal direction does not differ for the isotope ratios (Sr/Ca) shown by DeLong et al. (2013).

The drilling process for the samples is conducted with a computer controlled micro drill with a diamond bit. Each sample is gathered from 1.5 x 1.5 x 1 mm cube, and each sample is contained in an isolated Eppendorf tube until the chemical analysis. Since the drilling results in a fine particle size, we assume that the samples are highly homogenized for the specific sampling volume, so we didn’t rework the samples in mortar for homogenization or fine graining.

Both isotope ratios are standardized with international norms. $\delta^{13}$C is standardized by Pee Dee Belemnite (PDB) \citep{craig1957isotopic }, similarly the $\delta^{18}$O are standardized by the Standard Mean Ocean Water (SMOW) \citep{ craig1961standard}. d18O was later on converted to PDB by using the relation derived from \cite{ coplen1983comparison}:

  - d18OVPDB = 0.970 * d18OVSMOW  - 29.983 ‰

@article{coplen1983comparison,   title={Comparison of stable isotope reference samples},  author={Coplen, Tyler B and Kendall, Carol and Hopple, Jessica},  journal={Nature},   volume={302},   number={5905},   pages={236--238},   year={1983},  publisher={Nature Publishing Group UK London}}

Tools used in Time Series Analysis